****

**SUIT reference protocol RP1mt**

**O2k high-resolution respirometry**

 2016-08-17

PM +mt: NFSGpTm\_1PM 2D 3c 4U 5G 6S 7Oct 8Rot 9Gp 10Ama 11Tm 12Azd

****

| **O2k and DatLab file: P**\_\_\_ ( A / B ) 2016- Operator:Sample type: Cohort: Sample code:Sample.Subsample number: Unit: Concentration: Medium:  |
| --- |
| **Event** | **Mark name** | **State** | **Final conc. 2 ml O2k**  | **Stock****[mM]** | **Comment** | **Tit.****[µl]** | **A** | **B** |
| **MiR** |  |  |  |  |  |  |  |  |
| **O2** |  |  | ~200 µM |  | ~450 µM O2 for pfi |  |  |  |
| **P**  |  |  | 5 mM | 2000 |  | 5 |  |  |
| **M** | **0** |  | 2 mM | 400 |  | 10 |  |  |
| **mt** |  |  |  |  |  |  |  |  |
| **O2** | **1PM** | PM*L* |  |  | ~450 µM O2 for pfi |  |  |  |
| **D** | **2D** | PM*P* | 2.5 mM | 500 | 7.5 mM (30 µl) for pfi | 10 |  |  |
| **c**  | **3c** | PM*P*c | 10 µM | 4 | NADH only if *FCFc* >.1  | 5 |  |  |
| **U**  | **4U** | PM*E* | Δ0.5 µM | 1 | CCCP | Δ1  |  |  |
| **G**  | **5G** | PGM*E* | 10 mM | 2000 |  | 10 |  |  |
| **S** | **6S** | PGMS*E* | 50 mM | 1000 |  | 100 |  |  |
| **Oct**  | **7Oct** | PGMSOct*E* | 0.5 mM | 100 |  | 10 |  |  |
| **Rot**  | **8Rot** | S*E* | 0.5 µM | 1 |  | 1 |  |  |
| **Gp** | **9Gp** | SGp*E* | 10 mM | 1000 |  | 20  |  |  |
| **Ama**  | **10Ama** | ROX | 2.5 µM | 5 |  | 1 |  |  |
| **As** |  |  | 2 mM | 800 |  | 5 |  |  |
| **Tm** |  |  | 0.5 mM | 200 | ~20 min open, C | 5 |  |  |
| **C** | **11Tm** | Tm*E* |  |  | ~450 µM O2 for pfi |  |  |  |
| **Azd**  | **12Azd** | ROX | ≥100 mM | 4000 | ~5 min  | 100 |  |  |
|  |  |  |  |  |  |  |  |  |