## O2&AmR MiR05-Kit#0915
SUIT-013_AmR_ce_D023 |  | Sample | Information | Unselect known sample correction if the sample concentration is not known
For further instructions, see MiPNet24.10! |  |  |  |  | Titration volume correction | O2 flux analysis |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-O2 trace |  |  |  |  | Known sample concentration
TRUE
[6 empty] | O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
ROUTINE, R | ROUTINE-respiration | [5 empty] | Flux per V | pmol·s-1·mL-1
OXPHOS, P | OXPHOS -respiration | [5 empty] | Flux per V (bc) | pmol·s-1·mL-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
LEAK, L | LEAK-respiration | [5 empty] | FCR |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Reference state: | ce2
ET, E | Electron transfer capacity | [5 empty] | FCR (bc) |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Baseline state: | ce3_anoxia
ROX, Rox | Residual oxygen consumption | [5 empty] | O2 flow per x | amol·s-1·x-1
[5 empty] | TRUE |  | O2 flow per x (bc) | amol·s-1·x-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | Sample concentration correction factor |  |  | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | Amp-H2O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-Amp trace | [6 empty] | H2O2 flux per V | pmol·s-1·mL-1 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | H2O2 flow per x | amol·s-1·x-1
H2O2 flow per x at the basline state might be higher that at the state afterwards, therefore, the baseline-corrected specific H2O2 flux is omitted.
[7 empty] | H2O2 flow per x/O2 flow per x | no ROX-corr. |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Amp-H2O2 flux analysis
Sensitivity [V/µM]
[9 empty] | 0 (before sample) | 1 (after sample) | 2 | 3 | 4 | 5 | 6
[6 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the yellow boxes (U to AA boxes) | [10 empty] | Enter the sensitivity values into the yellow boxes.Never leave the first box empty.
Sensitivity of 0 (before sample) comes from the AmR calibration file.
[7 empty] | Jamp,BGr | mV·s-1 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159
[7 empty] | FO2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
[7 empty] | Jamp,BG | mV·s-1 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159 | 0.1159
[7 empty] | Jamp,corr | mV·s-1 | -0.1159 | -0.1159 | -0.1159 | -0.1159 | -0.1159 | -0.1159 | -0.1159
[7 empty] | JV,H2O2 | pmol·s-1·mL-1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
[7 empty] | JH2O2 | pmol·s-1·x-1
[7 empty] | Plot equation for the calculation of the correction factors for H2O2 production |  |  |  | a° | b°
[7 empty] | Jamp,BG (MiR05-Kit#0915) | Jamp,BG= 0.0082·Uamp + 0.1159 |  |  | 0.0082 | 0.1159 | Please check the equation used for MiR05. For details, see:MiPNet24.10
[7 empty] | FO2 | FO2=(0.0002· [O2]e+0.067)/(0.0002 ·[O2]r+0.067) |  |  | 0.0002 | 0.067
Note on C2: Enter information about your sample.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on A30: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).

## O2&AmR MiR05-Kit#18.02872
SUIT-013_AmR_ce_D023 |  | Sample | Information | Unselect known sample correction if the sample concentration is not known
Yeast
For further instructions, see MiPNet24.10! |  |  |  |  | Titration volume correction | O2 flux analysis | [8 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
SUIT-013_AmR_ce_D023.DLP
O2k-O2 trace |  |  |  |  | Known sample concentration | Timi | Q-0002 | PQ3A | O2 calibration | POS # |  | Marks from | Median | Unit | J° | ce1>50 | ce1_anox | ce2>50 | ce2_anox | ce3>50 | ce3_anox
[6 empty] | Protocol | SUIT-013_AmR_ce_D023 |  | Temp | 37 | °C |  | State |  | O2 background flux | ce_R >50 µM O2 | ce_R anoxia | ce_R >50 µM O2 | ce_R anoxia | ce_R >50 µM O2 | ce_R anoxia
[6 empty] | Sample type | yeast |  | Air saturation | 181.58 | µM |  | Concentration |  | 0:00 | 2:24 | 2:24 | 0:00 | 2:24 | 0:00 | 2:24
[6 empty] | Cohort | - |  | R1 | 2.0347 | V |  | Volume |  | 0 | 5 | 5 | 0 | 5 | 0 | 5
[6 empty] | Sample code | - |  | R0 | 0.0046 | V |  | Start |  | 0:01 | 0:09 | 0:17 | 0:26 | 0:34 | 0:44 | 0:53
[6 empty] | Sample number | 1 |  | pb | 95.5 | kPa |  | Stop |  | 0.0021528 | 0.0068981 | 0.013403 | 0.0189 | 0.024907 | 0.031007 | 0.038437
[5 empty] | TRUE | Subsample number | 1 |  | FM | 0.92 |  |  | N Points |  | 62 | 24 | 68 | 25 | 67 | 23 | 84
[6 empty] | Sample concentration | 1 | mg/mL | Medium | MiR05-Kit |  |  | Q3A: O2 concentration | µM | 201.0172 | 62.0803 | 0.1149 | 84.4109 | 0.059 | 93.0575 | 0.0572
[6 empty] | Sample amount | 2 | mg | O2 background a° | -2.6496 | pmol/(s*mL) | X | Q3A: O2 slope neg. | pmol/(s*mL) | 2.8622 | 442.2555 | 0.1789 | 559.5612 | 0.1789 | 488.5428 | 0.0894
[6 empty] | Chamber volume | 2 | mL | O2 background b° | 0.0277
[6 empty] | O2 flux summary | [8 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
ROUTINE, R | ROUTINE-respiration | [5 empty] | Flux per V | pmol·s-1·mL-1 | [7 empty] | 443.1855 | 2.8253 | 559.8726 | 2.8269 | 488.6147 | 2.7374
OXPHOS, P | OXPHOS -respiration | [5 empty] | Flux per V (bc) | pmol·s-1·mL-1 | [7 empty] | 440.4481 | 0.087902 | 557.1352 | 0.08945 | 485.8773 | 0
LEAK, L | LEAK-respiration | [5 empty] | FCR | [8 empty] | 0.7896 | 0.0050464 | 1 | 0.0050618 | 0.87491 | 0.0049139 |  | Reference state: | ce2
ET, E | Electron transfer capacity | [5 empty] | FCR (bc) | [8 empty] | 0.78856 | 0.00013312 | 1 | 0.00014861 | 0.87429 | 0 |  | Baseline state: | ce3_anoxia
ROX, Rox | Residual oxygen consumption | [5 empty] | O2 flow per x | amol·s-1·x-1 | [7 empty] | 444.2962 | 2.8395 | 562.6825 | 2.8482 | 492.2977 | 2.765
[5 empty] | TRUE |  | O2 flow per x (bc) | amol·s-1·x-1 | [7 empty] | 441.5313 | 0.074535 | 559.9176 | 0.083212 | 489.5328 | 0
[7 empty] | Sample concentration correction factor | [8 empty] | 0.9975 | 0.99501 | 0.99501 | 0.99252 | 0.99252 | 0.99004
In the demo experiment, dry-freezed yeast was used, therefore, O2 flux per x is expressed as pmol·s-1·mg-1
[6 empty] | Amp-H2O2 flux summary | [8 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-Amp trace | [6 empty] | H2O2 flux per V | pmol·s-1·mL-1 | [7 empty] | 0.35336 | 0.060367 | 0.30359 | 0.036748 | 0.32763 | 0.027718
[7 empty] | H2O2 flow per x | amol·s-1·x-1 | [7 empty] | 0.35424 | 0.06067 | 0.30511 | 0.037025 | 0.3301 | 0.027997
H2O2 flow per x at the basline state might be higher that at the state afterwards, therefore, the baseline-corrected specific H2O2 flux is omitted.
[7 empty] | H2O2 flow per x/O2 flow per x | no ROX-corr. | [7 empty] | 0.00079731 | 0.021366 | 0.00054225 | 0.013 | 0.00067054 | 0.010126
In the demo experiment, dry-freezed yeast was used, therefore, H2O2 flux per x is expressed as pmol·s-1·mg-1
Amp-H2O2 flux analysis
Sensitivity [V/µM]
[15 empty] | 0 (before sample) | 1 (after sample) | 2 | 3 | 4 | 5 | 6
[6 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the yellow boxes (U to AA boxes) | [8 empty] | 1.987 | 1.1136 | 1.0098 | 1.0098 | 0.9791 | 0.9791 | 0.9374 |  | Enter the sensitivity values into the yellow boxes.Never leave the first box empty.
Sensitivity of 0 (before sample) comes from the AmR calibration file.
SUIT-013_AmR_ce_D023.DLP
[6 empty] | Timi | Q-0002 | PQ3A |  |  |  | Marks from | Median | Unit | J°1 | ce1>50 | ce1_anox | ce2>50 | ce2_anox | ce3>50 | ce3_anox
[6 empty] | Protocol | SUIT-013_AmR_ce_D023 | [5 empty] | State |  | Chemical background slope | ce_R >50 µM O2 | ce_R anoxia | ce_R >50 µM O2 | ce_R anoxia | ce_R >50 µM O2 | ce_R anoxia
[6 empty] | Sample type | yeast | [5 empty] | Concentration |  | 0:00 | 2:24 | 2:24 | 0:00 | 2:24 | 0:00 | 2:24
[6 empty] | Cohort | - | [5 empty] | Volume |  | 0:00 | 120:00 | 120:00 | 0:00 | 120:00 | 0:00 | 120:00
[6 empty] | Sample code | - | [5 empty] | Start |  | 0:01 | 0:09 | 0:19 | 0:27 | 0:34 | 0:45 | 0:55
[6 empty] | Sample number | 1 | [5 empty] | Stop |  | 0.0025231 | 0.0067245 | 0.014514 | 0.019491 | 0.024826 | 0.031481 | 0.039375
[6 empty] | Subsample number | 1 | [5 empty] | N Points |  | 66 | 34 | 47 | 29 | 38 | 20 | 58
[6 empty] | Sample concentration | 1 | mg/mL | Medium | MiR05-Kit |  |  | Q3A: H2O2 raw | V | 0.8196 | 0.8544 | 1.0319 | 1.1962 | 1.3314 | 1.5382 | 1.6954
[6 empty] | Sample amount | 2 | mg |  |  |  | X | Q3A: H2O2 slope | mV/s | 0.1165 | 0.4165 | 0.061 | 0.335 | 0.036 | 0.349 | 0.026
[6 empty] | Chamber volume | 2 | mL
[7 empty] | Jamp,BGr | mV·s-1 | [6 empty] | 0.075172 | 0.074483 | 0.070968 | 0.067715 | 0.065038 | 0.060944 | 0.057831
[7 empty] | FO2 | [7 empty] | 1 | 0.30884 | 0.00058643 | 0.41993 | 0.00030835 | 0.46294 | 0.0002994
[7 empty] | Jamp,BG | mV·s-1 | [6 empty] | 0.075172 | 0.023003 | 4.1618e-05 | 0.028435 | 2.0055e-05 | 0.028213 | 1.7315e-05
[7 empty] | Jamp,corr | mV·s-1 | [6 empty] | 0.041328 | 0.3935 | 0.060958 | 0.30656 | 0.03598 | 0.32079 | 0.025983
[7 empty] | JV,H2O2 | pmol·s-1·mL-1 | [6 empty] | 0.020799 | 0.35336 | 0.060367 | 0.30359 | 0.036748 | 0.32763 | 0.027718
[15 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
[7 empty] | JH2O2 | pmol·s-1·x-1 | [7 empty] | 0.35424 | 0.06067 | 0.30511 | 0.037025 | 0.3301 | 0.027997
[7 empty] | Plot equation for the calculation of the correction factors for H2O2 production | [9 empty] | a° | b°
[7 empty] | Jamp,BG (MiR05-Kit#18.02872) | Jamp,BG= -0.0198·Uamp + 0.0914 | [8 empty] | -0.0198 | 0.0914 | Please, check the equation used for MiR05. For details, see:MiPNet24.10
[7 empty] | FO2 | FO2=(0.0002· [O2]e+0.067)/(0.0002 ·[O2]r+0.067) | [8 empty] | 0.0002 | 0.067
Note on C2: Enter information about your sample.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on A30: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).

## O2&AmR MiR05-Kit#19.01689
SUIT-013_AmR_ce_D023 |  | Sample | Information | Unselect known sample correction if the sample concentration is not known
For further instructions, see MiPNet24.10! |  |  |  |  | Titration volume correction | O2 flux analysis |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-O2 trace |  |  |  |  | Known sample concentration
TRUE
[6 empty] | O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
ROUTINE, R | ROUTINE-respiration | [5 empty] | Flux per V | pmol·s-1·mL-1
OXPHOS, P | OXPHOS -respiration | [5 empty] | Flux per V (bc) | pmol·s-1·mL-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
LEAK, L | LEAK-respiration | [5 empty] | FCR |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Reference state: | ce2
ET, E | Electron transfer capacity | [5 empty] | FCR (bc) |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Baseline state: | ce3_anoxia
ROX, Rox | Residual oxygen consumption | [5 empty] | O2 flow per x | amol·s-1·x-1
[5 empty] | TRUE |  | O2 flow per x (bc) | amol·s-1·x-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | Sample concentration correction factor |  |  | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | Amp-H2O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-Amp trace | [6 empty] | H2O2 flux per V | pmol·s-1·mL-1 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | H2O2 flow per x | amol·s-1·x-1
H2O2 flow per x at the basline state might be higher that at the state afterwards, therefore, the baseline-corrected specific H2O2 flux is omitted.
[7 empty] | H2O2 flow per x/O2 flow per x | no ROX-corr. |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Amp-H2O2 flux analysis
Sensitivity [V/µM]
[9 empty] | 0 (before sample) | 1 (after sample) | 2 | 3 | 4 | 5 | 6
[6 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the yellow boxes (U to AA boxes) | [10 empty] | Enter the sensitivity values into the yellow boxes.Never leave the first box empty.
Sensitivity of 0 (before sample) comes from the AmR calibration file.
[7 empty] | Jamp,BGr | mV·s-1 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868
[7 empty] | FO2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
[7 empty] | Jamp,BG | mV·s-1 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868 | 0.0868
[7 empty] | Jamp,corr | mV·s-1 | -0.0868 | -0.0868 | -0.0868 | -0.0868 | -0.0868 | -0.0868 | -0.0868
[7 empty] | JV,H2O2 | pmol·s-1·mL-1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
[7 empty] | JH2O2 | pmol·s-1·x-1
[7 empty] | Plot equation for the calculation of the correction factors for H2O2 production |  |  |  | a° | b°
[7 empty] | Jamp,BG (MiR05-Kit#19.01689) | Jamp,BG= -0.0166·Uamp + 0.0868 |  |  | -0.0166 | 0.0868 | Please check the equation used for MiR05. For details, see:MiPNet24.10
[7 empty] | FO2 | FO2=(0.0002· [O2]e+0.067)/(0.0002 ·[O2]r+0.067) |  |  | 0.0002 | 0.067
Note on C2: Enter information about your sample.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on A30: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).

## O2&AmR MiR05-Kit#20J01923
SUIT-013_AmR_ce_D023 |  | Sample | Information | Unselect known sample correction if the sample concentration is not known
For further instructions, see MiPNet24.10! |  |  |  |  | Titration volume correction | O2 flux analysis |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-O2 trace |  |  |  |  | Known sample concentration
TRUE
[6 empty] | O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
ROUTINE, R | ROUTINE-respiration | [5 empty] | Flux per V | pmol·s-1·mL-1
OXPHOS, P | OXPHOS -respiration | [5 empty] | Flux per V (bc) | pmol·s-1·mL-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
LEAK, L | LEAK-respiration | [5 empty] | FCR |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Reference state: | ce2
ET, E | Electron transfer capacity | [5 empty] | FCR (bc) |  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  | Baseline state: | ce3_anoxia
ROX, Rox | Residual oxygen consumption | [5 empty] | O2 flow per x | amol·s-1·x-1
[5 empty] | TRUE |  | O2 flow per x (bc) | amol·s-1·x-1 |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
[7 empty] | Sample concentration correction factor |  |  | 1 | 1 | 1 | 1 | 1 | 1
[6 empty] | Amp-H2O2 flux summary |  |  | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
O2k-Amp trace | [6 empty] | H2O2 flux per V | pmol·s-1·mL-1 |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[7 empty] | H2O2 flow per x | amol·s-1·x-1
H2O2 flow per x at the basline state might be higher that at the state afterwards, therefore, the baseline-corrected specific H2O2 flux is omitted.
[7 empty] | H2O2 flow per x/O2 flow per x | no ROX-corr. |  | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
Amp-H2O2 flux analysis
Sensitivity [V/µM]
[9 empty] | 0 (before sample) | 1 (after sample) | 2 | 3 | 4 | 5 | 6
[6 empty] | Paste the sensitivity from the DatLab (from each H2O2 calibration) in the yellow boxes (U to AA boxes) | [10 empty] | Enter the sensitivity values into the yellow boxes.Never leave the first box empty.
Sensitivity of 0 (before sample) comes from the AmR calibration file.
[7 empty] | Jamp,BGr | mV·s-1 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248
[7 empty] | FO2 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1
[7 empty] | Jamp,BG | mV·s-1 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248 | 0.1248
[7 empty] | Jamp,corr | mV·s-1 | -0.1248 | -0.1248 | -0.1248 | -0.1248 | -0.1248 | -0.1248 | -0.1248
[7 empty] | JV,H2O2 | pmol·s-1·mL-1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
[9 empty] | J° | ce1 | ce1_anoxia | ce2 | ce2_anoxia | ce3 | ce3_anoxia
[7 empty] | JH2O2 | pmol·s-1·x-1
[7 empty] | Plot equation for the calculation of the correction factors for H2O2 production |  |  |  | a° | b°
[7 empty] | Jamp,BG (MiR05-Kit#20J01923) | Jamp,BG= -0.0348·Uamp + 0.1248 |  |  | -0.0348 | 0.1248 | Please, check the equation used for MiR05. For details, see:MiPNet24.10
[7 empty] | FO2 | FO2=(0.0002· [O2]e+0.067)/(0.0002 ·[O2]r+0.067) |  |  | 0.0002 | 0.067
Note on C2: Enter information about your sample.
Note on A6: Paste DatLab graph here, reduce to width 22 cm (8 inches).
Note on A30: Paste DatLab graph (Amp) here, reduce to width 22 cm (8 inches).